## Slide 1: MTPPy
Python package for modular automation
Fully written in Python, open source and free to use
AI-ready and cross-platform (tested on x64, arm64)
Based on python-opcua for opcua connectivity
Developed by TUD and TUDo
Can be downloaded via https://pypi.org/project/MTPPy/

## Slide 2: MTPPy
Scenario 1: virtual module
No direct connections to field devices
For virtual/soft sensors
Process Orchestration Layer
PEA 1
on PLC
PEA 2
MTPPy
PEA 3
on PLC
Field devices
Field devices

## Slide 3: MTPPy
Process Orchestration Layer
Scenario 3: hybrid module
Indirect connections to field devices via PLC (ModbusTCP etc.)
For modules with physical actuators and sensors and safety-critical interlocks
PEA 1
PEA 2
MTTPy on edge
PEA 3
Field devices
Field devices
Field devices
Process Orchestration Layer
Scenario 2: standard module
Direct connections to field devices via interfaces (RS-232, GPIO, CAN, etc.)
For modules with physical actuators and sensors
PEA 1
on PLC
PEA 2
MTTPy on edge
PEA 3
on PLC
Field devices
Field devices
Field devices
PLC

## Slide 4
to be implemented next
implemented